## Sheet1
Kleinverteiler Aufputz | 20 | € | Hornbach.de
Codesys Runtime Runtime USB | 53.55 | € | Codesys
Codesys Raspberry Runtime | 41.65 | € | Codesys
Din Rail Mount Raspberry | 33.58 | USD | Aliexpress | https://www.aliexpress.com/item/DIN-Rail-Mount-Screw-Terminal-Block-Adapter-Module-For-MEGA-2560-R3/32631520606.html?spm=2114.13010608.0.0.kRldOa
Raspberry 3 | 37.1 | USD | Aliexpress | https://www.aliexpress.com/item/2016-New-Original-Raspberry-Pi-3-Model-B-Board-1GB-LPDDR2-BCM2837-Quad-Core-Ras-PI3/32644326228.html?spm=2114.30010308.3.26.965zNJ&ws_ab_test=searchweb0_0,searchweb201602_3_10056_10065_10055_10068_10054_10069_10059_418_10073_10017_10070_10060_10061_10052_10062_10053_10050_10051,searchweb201603_3&btsid=0a5a9e89-787a-4915-9ba9-933d7a334326
SSD 5CH Din Rail | 17.43 | USD | Aliexpress | https://www.aliexpress.com/item/10DA-5-Channel-Din-rail-SSR-quintuplicate-five-input-3-32VDC-output-24-380VAC-single-phase/32267466899.html?spm=2114.13010608.0.0.kRldOa
24V Supply, Din Rail | 17.35 | USD | Aliexpress | https://www.aliexpress.com/item/din-rail-CE-certified-24v-din-rail-switch-power-supply-MDR-20-24/2045288732.html?spm=2114.13010608.0.0.8rZqfe
5V Suppy, Din Rail | 13.48 | USD | Aliexpress | https://www.aliexpress.com/item/new-model-MDR-10-5-Din-Rail-Type-switching-power-supply-single-output-Mini-Size-10w/32429250343.html?spm=2114.13010608.0.0.NJeGS1
Modbus IO 8DI,8DO, Din Rail | 29.18 | USD | Aliexpress | https://www.aliexpress.com/item/Digital-input-and-output-modules-switch-module-isolated-8DI-8DO-RS485-MODBUS-communications/2028359405.html?spm=2114.13010608.0.0.8rZqfe
Input Relays Din Rail, 5Stk | 10.48 | USD | Aliexpress | https://www.aliexpress.com/item/my2-LED-illuminated-relay-MY2NJ-DPDT-relays-8-pins-my2n-power-relay-with-socket/32531589391.html?spm=2114.13010608.0.0.8rZqfe
USB to RS485 | 7.26 | USD | Aliexpress | https://www.aliexpress.com/item/Commercial-grade-PL2303-chip-USB-to-485-converter-USB2-0-to-RS485-communication-converter/32674278831.html?spm=2114.13010608.0.0.NJeGS1
RJ45 Buchse | 4.08 | USD | Aliexpress | https://www.aliexpress.com/item/RJ45-waterproof-connector-sockets-RJ45-female-connectors-Ethernet-connector-IP65-panel-mount-RJ45-connector/32570680173.html?spm=2114.13010608.0.0.NJeGS1
USB Winkelkabel | 3.36 | USD | Aliexpress | https://www.aliexpress.com/item/4-pcs-10cm-Left-90-degree-right-angle-USB-2-0-A-MF-male-to-female/1154331292.html?spm=2114.13010608.0.0.RiEBZP
4.7k Widerstand, 100Stk | 0.64 | USD | Aliexpress | https://www.aliexpress.com/item/Free-Shipping-50PCS-0-25W-Metal-Film-Resistor-1-4-7K-ohm-4K7/32376043790.html?spm=2114.13010608.0.0.NJeGS1
Total | 154 | €